Specifications - Borehole pump

Technical specifications

Pump type-Submersible

Number of phases-1

Maximum power consumption-_474__ W

Maximum sand content-100g/m3

Maximum pressure-___35____m

Maximum flow-____2.7_____ m³/hour

Maximum flow, l/min-___45____

Housing material

Stainless steel

Mounting-built-in

Shaft power P2-___410___ W

Nominal voltage – 200–240 V.

Nominal pressure-___25____m

Nominal current consumption-___3.2____A

Nominal flow-____1____ m³/hour

Nominal flow, l/min-___16.7____

Country (class) of protection-IP 68

Country-Denmark, Mexico, Germany

Temperature of the pumped liquid, 1ºС-Up to 35°С

Product type-Borehole

Noise level-Up to 70 dB

Microphone frequency-Up to 10700 rpm

Network frequency-50 Hz

Number of stages-3

Warranty - ___2____ years

Item number – DWH65-1-25-0.37SI_____

Barcode - __________

Ground water _Underground water________

Cable length - 2 m

Dimensions:

Weight - 3 kg

Height - ____497_____ mm

Discharge pipe diameter - 25 mm

Width - 65 mm

Length - ____497_____ mm

Pump diameter, mm - 65

Packaging dimensions:

Product weight with packaging - ___3.5____ kg

Packaging height - 105 mm

Packaging length - 685 mm

Packaging width - 105 mm

The borehole pump __ DWH65-1-25-0.37SI _______ is designed to pump clean liquids that do not contain solid particles or fibers. It is used to supply groundwater to water supply systems of private houses, small water supply stations, and irrigation systems.

The pump operates at a variable speed, which is achieved by adjusting the frequency. As a result, the device can be configured to operate at any operating point between the minimum and maximum operating characteristics.