Specifications - Borehole pump

Technical specifications

Pump type-Submersible

Number of phases-1

Maximum power consumption-_1400__ W

Maximum sand content-100g/m3

Maximum pressure-___70____m

Maximum flow-____6.5_____ m³/hour

Maximum flow, l/min-___108____

Housing material

Stainless steel

Mounting-built-in

Shaft power P2-___1390___ W

Nominal voltage – 200–240 V.

Nominal pressure-___60____m

Nominal current consumption-___9.5____A

Nominal flow-____3____ m³/hour

Nominal flow, l/min-___50____

Country (class) of protection-IP 68

Country-Denmark, Mexico, Germany

Temperature of the pumped liquid, 1ºС-Up to 35°С

Product type-Borehole

Noise level-Up to 70 dB

Microphone frequency-Up to 10700 rpm

Network frequency-50 Hz

Number of stages-4

Warranty - ___2____ years

Item number – DWH80-3-60-1.1SI_____

Barcode - __________

Ground water _Underground water________

Cable length - 2 m

Dimensions:

Weight – 4.1 kg

Height - ____644_____ mm

Discharge pipe diameter - 40 mm

Width - 82 mm

Length - ____644_____ mm

Pump diameter, mm - 82

Packaging dimensions:

Product weight with packaging - ___4.8____ kg

Packaging height - 135 mm

Packaging length - 810 mm

Packaging width - 135 mm

The borehole pump __ DWH80-3-60-1.1SI_______ is designed to pump clean liquids that do not contain solid particles or fibers. It is used to supply groundwater to water supply systems of private houses, small water supply stations, and irrigation systems.

The pump operates at a variable speed, which is achieved by adjusting the frequency. As a result, the device can be configured to operate at any operating point between the minimum and maximum operating characteristics.